## Sheet1
Register			default					blind-control					blind-control_5+4					gateway232					pushbutton8					roomthermostate					scheduler
dec	hex		Name	Description	Size	pv		Name	Description	Size	pv		Name	Description	Size	pv		Name	Description	Size	pv		Name	Description	Size	pv		Name	Description	Size	pv		Name	Description	Size	pv
0	00		unused	n/a				unused	n/a				unused	n/a				unused	n/a				unused	n/a				unused	n/a				unused	n/a
1	01		ModuleID	Module ID as it appears on the bus	uint8	p		ModuleID	Module ID as it appears on the bus	uint8	p		ModuleID	Module ID as it appears on the bus	uint8	p		ModuleID	Module ID as it appears on the bus	uint8	p		ModuleID	Module ID as it appears on the bus	uint8	p		ModuleID	Module ID as it appears on the bus	uint8	p		ModuleID	Module ID as it appears on the bus	uint8	p
2	02		BldFlag	Storage for bootloader flags	uint8	p		BldFlag	Storage for bootloader flags	uint8	p		BldFlag	Storage for bootloader flags	uint8	p		BldFlag	Storage for bootloader flags	uint8	p		BldFlag	Storage for bootloader flags	uint8	p		BldFlag	Storage for bootloader flags	uint8	p		BldFlag	Storage for bootloader flags	uint8	p
3	03							0	0				0	0				0	0				0	0				0	0				0	0
4	04							0	0				0	0				0	0				0	0				0	0				0	0
5	05							0	0				0	0				0	0				0	0				0	0				0	0
6	06							0	0				0	0				0	0				0	0				0	0				0	0
7	07							0	0				0	0				0	0				0	0				0	0				0	0
8	08							0	0				0	0				0	0				0	0				0	0				0	0
9	09							0	0				0	0				0	0				0	0				0	0				0	0
10	0A							0	0				0	0				0	0				0	0				0	0				0	0
11	0B							0	0				0	0				0	0				0	0				0	0				0	0
12	0C							0	0				0	0				0	0				0	0				0	0				0	0
13	0D							0	0				0	0				0	0				0	0				0	0				0	0
14	0E							0	0				0	0				0	0				0	0				0	0				0	0
15	0F							0	0				0	0				0	0				0	0				0	0				0	0
16	10		FirstAppSpecific	n/a	?			PositionCurrent	Current position of blind 0. 100 = completely closed. 0 = completely open	uint8	vro		PositionCurrent	Current position of blind 0. 100 = completely closed. 0 = completely open	uint8	vro		FirstAppSpecific	n/a	?			FirstAppSpecific	n/a	?			FirstAppSpecific	n/a	?			FirstAppSpecific	n/a	?
17	11		...	...				PositionSetPoint	Wanted position of blind. 100 = completely closed. 0 = completely open	uint8	v		PositionSetPoint	Wanted position of blind. 100 = completely closed. 0 = completely open	uint8	v		...	...				...	...				...	...				...	...
18	12							PositionDifference	Difference between wanted and current position	int8	vro		PositionDifference	Difference between wanted and current position	int8	vro
19	13							ReactionDelay	Delay time in timer ticks (1/100sec) until movement starts after applying power	uint8	p		ReactionDelay	Delay time in timer ticks (1/100sec) until movement starts after applying power	uint8	p
20	14							DurationOpen	Duration in timer ticks (1/100sec) to fully open the blind	uint16	p		DurationOpen	Duration in timer ticks (1/100sec) to fully open the blind	uint16	p
21	15							DurationClose	Duration in timer ticks (1/100sec) to fully close the blind	uint16	p		DurationClose	Duration in timer ticks (1/100sec) to fully close the blind	uint16	p
22	16							unused					unused
23	17							unused					unused
24	18							TimeUp1_Weekday	Flags on which weekday this timer applies. Index flags with day-of-week	uint8	p		PositionCurrent	Current position of blind 0. 100 = completely closed. 0 = completely open	uint8	vro
25	19							TimeUp1_Hour		uint8	p		PositionSetPoint	Wanted position of blind. 100 = completely closed. 0 = completely open	uint8	v
26	1A							TimeUp1_Minute		uint8	p		PositionDifference	Difference between wanted and current position	int8	vro
27	1B							TimeDown1_Weekday	Flags on which weekday this timer applies. Index flags with day-of-week	uint8	p		ReactionDelay	Delay time in timer ticks (1/100sec) until movement starts after applying power	uint8	p
28	1C							TimeDown1_Hour		uint8	p		DurationOpen	Duration in timer ticks (1/100sec) to fully open the blind	uint16	p
29	1D							TimeDown1_Minute		uint8	p		DurationClose	Duration in timer ticks (1/100sec) to fully close the blind	uint16	p
30	1E							TimeUp2_Weekday	Flags on which weekday this timer applies. Index flags with day-of-week	uint8	p		unused
31	1F							TimeUp2_Hour		uint8	p		unused
32	20							TimeUp2_Minute		uint8	p		PositionCurrent	Current position of blind 0. 100 = completely closed. 0 = completely open	uint8	vro
33	21							TimeDown2_Weekday	Flags on which weekday this timer applies. Index flags with day-of-week	uint8	p		PositionSetPoint	Wanted position of blind. 100 = completely closed. 0 = completely open	uint8	v
34	22							TimeDown2_Hour		uint8	p		PositionDifference	Difference between wanted and current position	int8	vro
35	23							TimeDown2_Minute		uint8	p		ReactionDelay	Delay time in timer ticks (1/100sec) until movement starts after applying power	uint8	p
36	24												DurationOpen	Duration in timer ticks (1/100sec) to fully open the blind	uint16	p
37	25												DurationClose	Duration in timer ticks (1/100sec) to fully close the blind	uint16	p
38	26												unused
39	27												unused
40	28												PositionCurrent	Current position of blind 0. 100 = completely closed. 0 = completely open	uint8	vro
41	29												PositionSetPoint	Wanted position of blind. 100 = completely closed. 0 = completely open	uint8	v
42	2A							WindowState	State of the window	uint8	vro		PositionDifference	Difference between wanted and current position	int8	vro
43	2B												ReactionDelay	Delay time in timer ticks (1/100sec) until movement starts after applying power	uint8	p
44	2C												DurationOpen	Duration in timer ticks (1/100sec) to fully open the blind	uint16	p
45	2D												DurationClose	Duration in timer ticks (1/100sec) to fully close the blind	uint16	p
46	2E												unused
47	2F												unused
48	30												PositionCurrent	Current position of blind 0. 100 = completely closed. 0 = completely open	uint8	vro
49	31												PositionSetPoint	Wanted position of blind. 100 = completely closed. 0 = completely open	uint8	v
50	32												PositionDifference	Difference between wanted and current position	int8	vro
51	33												ReactionDelay	Delay time in timer ticks (1/100sec) until movement starts after applying power	uint8	p
52	34												DurationOpen	Duration in timer ticks (1/100sec) to fully open the blind	uint16	p
53	35												DurationClose	Duration in timer ticks (1/100sec) to fully close the blind	uint16	p
54	36												unused
55	37												unused
56	38												B0_TimeUp1_Weekday		uint8	p
57	39												B0_TimeUp1_Hour		uint8	p
58	3A												B0_TimeUp1_Minute		uint8	p
59	3B												B0_TimeDown1_Weekday		uint8	p
60	3C												B0_TimeDown1_Hour		uint8	p
61	3D												B0_TimeDown1_Minute		uint8	p
62	3E												B0_TimeUp2_Weekday		uint8	p
63	3F												B0_TimeUp2_Hour		uint8	p
64	40												B0_TimeUp2_Minute		uint8	p
65	41												B0_TimeDown2_Weekday		uint8	p
66	42												B0_TimeDown2_Hour		uint8	p
67	43												B0_TimeDown2_Minute		uint8	p
68	44												B1_TimeUp1_Weekday		uint8	p
69	45												B1_TimeUp1_Hour		uint8	p
70	46												B1_TimeUp1_Minute		uint8	p
71	47												B1_TimeDown1_Weekday		uint8	p
72	48												B1_TimeDown1_Hour		uint8	p
73	49												B1_TimeDown1_Minute		uint8	p
74	4A												B1_TimeUp2_Weekday		uint8	p
75	4B												B1_TimeUp2_Hour		uint8	p
76	4C												B1_TimeUp2_Minute		uint8	p
77	4D												B1_TimeDown2_Weekday		uint8	p
78	4E												B1_TimeDown2_Hour		uint8	p
79	4F												B1_TimeDown2_Minute		uint8	p
80	50												B2_TimeUp1_Weekday		uint8	p
81	51												B2_TimeUp1_Hour		uint8	p
82	52												B2_TimeUp1_Minute		uint8	p
83	53												B2_TimeDown1_Weekday		uint8	p
84	54												B2_TimeDown1_Hour		uint8	p
85	55												B2_TimeDown1_Minute		uint8	p
86	56												B2_TimeUp2_Weekday		uint8	p
87	57												B2_TimeUp2_Hour		uint8	p
88	58												B2_TimeUp2_Minute		uint8	p
89	59												B2_TimeDown2_Weekday		uint8	p
90	5A												B2_TimeDown2_Hour		uint8	p
91	5B												B2_TimeDown2_Minute		uint8	p
92	5C												B3_TimeUp1_Weekday		uint8	p
93	5D												B3_TimeUp1_Hour		uint8	p
94	5E												B3_TimeUp1_Minute		uint8	p
95	5F												B3_TimeDown1_Weekday		uint8	p
96	60												B3_TimeDown1_Hour		uint8	p
97	61												B3_TimeDown1_Minute		uint8	p
98	62												B3_TimeUp2_Weekday		uint8	p
99	63												B3_TimeUp2_Hour		uint8	p
100	64												B3_TimeUp2_Minute		uint8	p
101	65												B3_TimeDown2_Weekday		uint8	p
102	66												B3_TimeDown2_Hour		uint8	p
103	67												B3_TimeDown2_Minute		uint8	p
104	68												B4_TimeUp1_Weekday		uint8	p
105	69												B4_TimeUp1_Hour		uint8	p
106	6A												B4_TimeUp1_Minute		uint8	p
107	6B												B4_TimeDown1_Weekday		uint8	p
108	6C												B4_TimeDown1_Hour		uint8	p
109	6D												B4_TimeDown1_Minute		uint8	p
110	6E												B4_TimeUp2_Weekday		uint8	p
111	6F												B4_TimeUp2_Hour		uint8	p
112	70												B4_TimeUp2_Minute		uint8	p
113	71												B4_TimeDown2_Weekday		uint8	p
114	72												B4_TimeDown2_Hour		uint8	p
115	73												B4_TimeDown2_Minute		uint8	p
116	74
117	75
118	76
119	77
120	78
121	79
122	7A
123	7B
124	7C
125	7D
126	7E
127	7F
128	80							0					0	0				0	0				0	0				0	0				0	0
129	81							0					0	0				0	0				0	0				0	0				0	0
130	82							0					0	0				0	0				0	0				0	0				0	0
131	83							0					0	0				0	0				0	0				0	0				0	0
132	84							0					0	0				0	0				0	0				0	0				0	0
133	85							0					0	0				0	0				0	0				0	0				0	0
134	86							0					0	0				0	0				0	0				0	0				0	0
135	87							0					0	0				0	0				0	0				0	0				0	0
136	88							0					0	0				0	0				0	0				0	0				0	0
137	89							0					0	0				0	0				0	0				0	0				0	0
138	8A							0					0	0				0	0				0	0				0	0				0	0
139	8B							0					0	0				0	0				0	0				0	0				0	0
140	8C							0					0	0				0	0				0	0				0	0				0	0
141	8D							0					0	0				0	0				0	0				0	0				0	0
142	8E							0					0	0				0	0				0	0				0	0				0	0
143	8F							0					0	0				0	0				0	0				0	0				0	0
144	90							0					0	0				0	0				0	0				0	0				0	0
145	91							0					0	0				0	0				0	0				0	0				0	0
146	92							0					0	0				0	0				0	0				0	0				0	0
147	93							0					0	0				0	0				0	0				0	0				0	0
148	94							0					0	0				0	0				0	0				0	0				0	0
149	95							0					0	0				0	0				0	0				0	0				0	0
150	96							0					0	0				0	0				0	0				0	0				0	0
151	97							0					0	0				0	0				0	0				0	0				0	0
152	98							0					0	0				0	0				0	0				0	0				0	0
153	99							0					0	0				0	0				0	0				0	0				0	0
154	9A							0					0	0				0	0				0	0				0	0				0	0
155	9B							0					0	0				0	0				0	0				0	0				0	0
156	9C							0					0	0				0	0				0	0				0	0				0	0
157	9D							0					0	0				0	0				0	0				0	0				0	0
158	9E							0					0	0				0	0				0	0				0	0				0	0
159	9F							0					0	0				0	0				0	0				0	0				0	0
160	A0							0					0	0				0	0				0	0				0	0				0	0
161	A1							0					0	0				0	0				0	0				0	0				0	0
162	A2							0					0	0				0	0				0	0				0	0				0	0
163	A3							0					0	0				0	0				0	0				0	0				0	0
164	A4							0					0	0				0	0				0	0				0	0				0	0
165	A5							0					0	0				0	0				0	0				0	0				0	0
166	A6							0					0	0				0	0				0	0				0	0				0	0
167	A7							0					0	0				0	0				0	0				0	0				0	0
168	A8							0					0	0				0	0				0	0				0	0				0	0
169	A9							0					0	0				0	0				0	0				0	0				0	0
170	AA							0					0	0				0	0				0	0				0	0				0	0
171	AB							0					0	0				0	0				0	0				0	0				0	0
172	AC							0					0	0				0	0				0	0				0	0				0	0
173	AD							0					0	0				0	0				0	0				0	0				0	0
174	AE							0					0	0				0	0				0	0				0	0				0	0
175	AF							0					0	0				0	0				0	0				0	0				0	0
176	B0							0					0	0				0	0				0	0				0	0				0	0
177	B1							0					0	0				0	0				0	0				0	0				0	0
178	B2							0					0	0				0	0				0	0				0	0				0	0
179	B3							0					0	0				0	0				0	0				0	0				0	0
180	B4							0					0	0				0	0				0	0				0	0				0	0
181	B5							0					0	0				0	0				0	0				0	0				0	0
182	B6							0					0	0				0	0				0	0				0	0				0	0
183	B7							0					0	0				0	0				0	0				0	0				0	0
184	B8							0					0	0				0	0				0	0				0	0				0	0
185	B9							0					0	0				0	0				0	0				0	0				0	0
186	BA							0					0	0				0	0				0	0				0	0				0	0
187	BB							0					0	0				0	0				0	0				0	0				0	0
188	BC							0					0	0				0	0				0	0				0	0				0	0
189	BD							0					0	0				0	0				0	0				0	0				0	0
190	BE							0					0	0				0	0				0	0				0	0				0	0
191	BF							0					0	0				0	0				0	0				0	0				0	0
192	C0							0					0	0				0	0				0	0				0	0				0	0
193	C1							0					0	0				0	0				0	0				0	0				0	0
194	C2							0					0	0				0	0				0	0				0	0				0	0
195	C3							0					0	0				0	0				0	0				0	0				0	0
196	C4							0					0	0				0	0				0	0				0	0				0	0
197	C5							0					0	0				0	0				0	0				0	0				0	0
198	C6							0					0	0				0	0				0	0				0	0				0	0
199	C7							0					0	0				0	0				0	0				0	0				0	0
200	C8							0					0	0				0	0				0	0				0	0				0	0
201	C9							0					0	0				0	0				0	0				0	0				0	0
202	CA							0					0	0				0	0				0	0				0	0				0	0
203	CB							0					0	0				0	0				0	0				0	0				0	0
204	CC							0					0	0				0	0				0	0				0	0				0	0
205	CD							0					0	0				0	0				0	0				0	0				0	0
206	CE							0					0	0				0	0				0	0				0	0				0	0
207	CF							0					0	0				0	0				0	0				0	0				0	0
208	D0							0					0	0				0	0				0	0				0	0				0	0
209	D1							0					0	0				0	0				0	0				0	0				0	0
210	D2							0					0	0				0	0				0	0				0	0				0	0
211	D3							0					0	0				0	0				0	0				0	0				0	0
212	D4							0					0	0				0	0				0	0				0	0				0	0
213	D5							0					0	0				0	0				0	0				0	0				0	0
214	D6							0					0	0				0	0				0	0				0	0				0	0
215	D7							0					0	0				0	0				0	0				0	0				0	0
216	D8							0					0	0				0	0				0	0				0	0				0	0
217	D9							0					0	0				0	0				0	0				0	0				0	0
218	DA							0					0	0				0	0				0	0				0	0				0	0
219	DB							0					0	0				0	0				0	0				0	0				0	0
220	DC							0					0	0				0	0				0	0				0	0				0	0
221	DD							0					0	0				0	0				0	0				0	0				0	0
222	DE							0					0	0				0	0				0	0				0	0				0	0
223	DF							Year	Current date and time. / DayOfWeek: 0=Monday, 6=Sunday	uint16	v		Year	Current date and time. / DayOfWeek: 0=Monday, 6=Sunday	uint16	v		0	0				0	0				0	0				0	0
224	E0							Month		uint8	v		Month		uint8	v		0	0				0	0				0	0				0	0
225	E1							Day		uint8	v		Day		uint8	v		0	0				0	0				0	0				0	0
226	E2							DayOfWeek		uint8	v		DayOfWeek		uint8	v		0	0				0	0				0	0				0	0
227	E3							Hour		uint8	v		Hour		uint8	v		0	0				0	0				0	0				0	0
228	E4		...					Minute		uint8	v		Minute		uint8	v		...	0				...	0				...	0				...	0
229	E5		LastAppSpecific	n/a				Second		uint8	v		Second		uint8	v		LastAppSpecific	n/a				LastAppSpecific	n/a				LastAppSpecific	n/a				LastAppSpecific	n/a
230	E6		DeviceSignature0	1st byte of device signature	uint8	pro		DeviceSignature0	1st byte of device signature	uint8	pro		DeviceSignature0	1st byte of device signature	uint8	pro		DeviceSignature0	1st byte of device signature	uint8	pro		DeviceSignature0	1st byte of device signature	uint8	pro		DeviceSignature0	1st byte of device signature	uint8	pro		DeviceSignature0	1st byte of device signature	uint8	pro
231	E7		DeviceSignature1	2nd byte of device signature	uint8	pro		DeviceSignature1	2nd byte of device signature	uint8	pro		DeviceSignature1	2nd byte of device signature	uint8	pro		DeviceSignature1	2nd byte of device signature	uint8	pro		DeviceSignature1	2nd byte of device signature	uint8	pro		DeviceSignature1	2nd byte of device signature	uint8	pro		DeviceSignature1	2nd byte of device signature	uint8	pro
232	E8		DeviceSignature2	3rd byte of device signature	uint8	pro		DeviceSignature2	3rd byte of device signature	uint8	pro		DeviceSignature2	3rd byte of device signature	uint8	pro		DeviceSignature2	3rd byte of device signature	uint8	pro		DeviceSignature2	3rd byte of device signature	uint8	pro		DeviceSignature2	3rd byte of device signature	uint8	pro		DeviceSignature2	3rd byte of device signature	uint8	pro
233	E9		DeviceSignature3	4th byte of device signature	uint8	pro		DeviceSignature3	4th byte of device signature	uint8	pro		DeviceSignature3	4th byte of device signature	uint8	pro		DeviceSignature3	4th byte of device signature	uint8	pro		DeviceSignature3	4th byte of device signature	uint8	pro		DeviceSignature3	4th byte of device signature	uint8	pro		DeviceSignature3	4th byte of device signature	uint8	pro
234	EA		BoardID	Needed Board ID	uint16	pro		BoardID	Needed Board ID	uint16	pro		BoardID	Needed Board ID	uint16	pro		BoardID	Needed Board ID	uint16	pro		BoardID	Needed Board ID	uint16	pro		BoardID	Needed Board ID	uint16	pro		BoardID	Needed Board ID	uint16	pro
235	EB		BoardRev	Needed Board revision (at least)	uint8	pro		BoardRev	Needed Board revision (at least)	uint8	pro		BoardRev	Needed Board revision (at least)	uint8	pro		BoardRev	Needed Board revision (at least)	uint8	pro		BoardRev	Needed Board revision (at least)	uint8	pro		BoardRev	Needed Board revision (at least)	uint8	pro		BoardRev	Needed Board revision (at least)	uint8	pro
236	EC		AppID	Application ID	uint16	pro		AppID	Application ID	uint16	pro		AppID	Application ID	uint16	pro		AppID	Application ID	uint16	pro		AppID	Application ID	uint16	pro		AppID	Application ID	uint16	pro		AppID	Application ID	uint16	pro
237	ED		AppVersionMajor	Application version major	uint8	pro		AppVersionMajor	Application version major	uint8	pro		AppVersionMajor	Application version major	uint8	pro		AppVersionMajor	Application version major	uint8	pro		AppVersionMajor	Application version major	uint8	pro		AppVersionMajor	Application version major	uint8	pro		AppVersionMajor	Application version major	uint8	pro
238	EE		AppVersionMinor	Application version minor	uint8	pro		AppVersionMinor	Application version minor	uint8	pro		AppVersionMinor	Application version minor	uint8	pro		AppVersionMinor	Application version minor	uint8	pro		AppVersionMinor	Application version minor	uint8	pro		AppVersionMinor	Application version minor	uint8	pro		AppVersionMinor	Application version minor	uint8	pro
239	EF		AppVersionBugfix	Application version bug-fix	uint8	pro		AppVersionBugfix	Application version bug-fix	uint8	pro		AppVersionBugfix	Application version bug-fix	uint8	pro		AppVersionBugfix	Application version bug-fix	uint8	pro		AppVersionBugfix	Application version bug-fix	uint8	pro		AppVersionBugfix	Application version bug-fix	uint8	pro		AppVersionBugfix	Application version bug-fix	uint8	pro
240	F0							0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0
241	F1							0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0
242	F2							0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0
243	F3							0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0
244	F4							0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0
245	F5							0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0
246	F6							0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0
247	F7							0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0
248	F8							0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0
249	F9							0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0
250	FA							0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0
251	FB							0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0
252	FC							0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0
253	FD							0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0
254	FE							0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0
255	FF							0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0		0	0	0	0